## FILE

This menu allows you to use the different features related to the project files and to quit the program.

Icons

|  | New Project - Open Project - Save Project Project Info |
| --- | --- |

When you choose File a menu as shown in the figure appears which includes the following commands:

File Menu

- New Project to define a new project

- Open Project to open a previously defined project in the archive

- Save Project to save a project

- Project Info allows you to input the information related to the project

- Organize Projects for access to the Windows Explorer window and management of operations connected with the project file such as name change or its movement into a different folder

- Printer Setup for printer configuration.  Selection of this function activates the typical Windows printer setup window

- Print to print project data, results and graphics

- Customize to customize designer data

- Update to activate the new program configuration with a diskette supplied by the company. Place this activation diskette in the drive and select the function; the program will proceed to update the program setup and any files used.

- Import allows you to convert the projects of a previous version of LUXART 5.0 from .LTS or .RUN to LPJ format; it also allows program startup without activation disk if a previous version with the same primary version number is installed (for example 4.xx) and the import of the photometric file (FOTOM.FDB) from the archive of the previous program

- Export allows you to export into the \DATA\ImpExp file all the configuration files of the current project (furniture, luminaires, masts etc.) and also to export the module support file for interface with Autocad CADY.

- DXF Import to import DXF 2D files as backgrounds on which to build the area

- Export DXF to export in DXF 3D format the environment created with the program, along with the luminaires and furniture. The file can then be opened and managed by the Autocad program versions 14 and 2000

- Exit to exit the program and return to the Program Manager.

### New Project

Selection of this function leads to the Working Plane where, if a previously unsaved project is active, the program asks if it may save the project before allowing new elements to be inserted.

The program does not ask, in this first phase, for definition of a new project code; this may be done at the end of the work or explicitly with the FILE/Save Project function (advisable).

There are at this point 2 possible ways of inserting the area:

- by defining the plan of the area itself and subsequently its height; with this method, the program assumes the ceiling is a plane element

- by choosing an area from the library; in this case the ceilings may also be non-plane (for example vaulted, sloping plane etc.).

#### Option A: Room Plan Definition

The first step is to select the command FREE PROJECT/Create Room and the program activates the Lower Working Bar and input functions via mouse.

There are 3 different and alternative ways to input the room plan and they may be used on the same project:

- using the mouse and grid points: click (left button) on the Working Area and then move the mouse across the screen. As you move the mouse the segment will be displayed. The segment has two anchor points on the grid. The second anchor point is set when you press the mouse button. Its co-ordinates are shown in the Lower Working Bar. Further segments can be added to the line until the room plan has been fully defined. Note: the line must be closed at the end by clicking on the starting point

You may also input curved walls. The program approximates a curve with a broken line of linear segments whose number is defined by the user. Click on the right button of the mouse (instead of the left one) and drag the mouse across the screen. The radius length and the mouse co-ordinates are shown on the top left-hand corner of the monitor. The end point of the curve is set when you press the left button of the mouse. A window appears on the screen and you should enter the number of segments of the curve. Fewer segments are used, the quicker the program will run. Confirm the input by clicking OK.

The last segment can be inserted using the Close Room/Area and Leave Room/Area Open keys in the lower toolbar: the first allows you to close the dotted line and to have a wall closing the area; in the second case the program does not consider the wall and the area is to be considered open.

Room Data Definition

- using the Lower Working Bar: you can input segments of defined length and direction. Click on the angle box and input a value. A value of zero means the segment is parallel to the x-axis. If a positive angle of rotation is entered the line segment is rotated counter clockwise as you look at the Working Area. Press the TAB key and then enter the length of the segment. Click OK to confirm input. Instead of using the TAB key you can select different points of the box using the mouse. The relative position of the second extreme of the segment is indicated by the relevant boxes.

- The Lower Toolbar also includes the following buttons:

- PAN:  this allows movement of the drawing within the Working Plane.  On selection of the PAN button the mouse arrow is substituted by the drawing of a hand: by pressing the left mouse button the drawing is captured and may be moved in all directions within the Working Plane

- ZOOM:  this allows enlargement or reduction of the drawing (zoom in and zoom out).  There are 2 modes:

- Pressing the left mouse button and moving the mouse upwards effects enlargement (zoom in), moving it downwards reduces the drawing (zoom out)

- Pressing the right button and keeping it pressed, the program opens a rectangle whose contents are enlarged to occupy the whole screen when the button is released

- GRID:  this function allows you to change the step of the Working Plane grid and therefore to change the scale according to which the drawing is represented.  Selection of GRID opens the window in which to manually insert the grid step: select OK to confirm input.

- When changing from input via mouse to that of the Lower Toolbar the program momentarily deactivates the definition of the segments using grid and mouse: to reactivate click once with the left mouse button on the Working Plane.

The last segment can be inserted using the Close Room/Area and Leave Room/Area Open keys in the lower toolbar: the first allows you to close the dotted line and to have a wall closing the area; in the second case the program does not consider the wall and the area is to be considered open.

- using the mouse without using the grid points. This is a fast, but not very precise way of defining segments independently of the grid points. To input the room plan place the mouse arrow at any point of the Working Area and press the Shift key before pressing the mouse left button.  It is important to close the shape.

Note: should you want to eliminate a segment of the room which has just been input press EXIT: repeat the operation if several segments are to be eliminated.  It is impossible to eliminate segments once the shape is complete; if this is necessary, the room must be input again from the start.

These 3 options may be used alternatively to define the same room plan.

Once the geometry of the room has been concluded by closing the shape, the program displays the window in which to define the following parameters of the room:

- area type whether Interior or Exterior: alternative type option

- the height of the room [m] considering a plane ceiling

- the color, reflectance and R tables of reduced reflection factors for floor, walls and ceiling

- Color Definition: to define the color of the surface just click on the surface color and this opens a window in which to choose the desired color or set the 3 RGB values precisely.

- Reflectance Definition: the central column is used for reflectance definition with a percentage (%) between 0% and 100% that indicates the quantity of light reflected by the surface under examination.  On selection of the surface color the program automatically associates a predefined reflectance value that may however be altered if necessary.

The definition of this value, without defining any R table, indicates that the type of reflectance is of the regular or diffuse kind, also called Lambertian reflectance

- R and C Table Definition: R tables are reduced reflection factor tables and allow for the definition of surface reflectance types that are different from the normal diffuse kind.

The R and C tables have been designed for calculating the illuminance values in road lighting installations and refer to an observer driving at a height of 1.5 m from the road surface, i.e. who sees the calculation points from an angle of approximately 1°.  The R and C tables are two-dimensional matrixes without the elevation coordinate (since the angle of vision is close to 1° it is considered negligible): their use in an interior, where the calculation points are very close to the observer, is therefore not recommended.

Select OK on conclusion of parameter definition and the program will return to the working plane.

#### Option B: Room Selection from Library

This feature allows you to select a room from the library. For example you can select a room with non-plane ceilings, for example vaulted, pointed, sloping etc.

Room/Area Selection from Library

To access the library choose the ROOM/Library command and the above window appears on the screen.

When you select a room you are asked to enter the dimensions of the room and the height of the bounding box. After confirming input another window appears on the screen, where you enter the colors and reflectances of the room surfaces.

To define the color of the surface just click on the surface color and this opens a window in which to choose the desired color or set the 3 RGB values precisely.

When a color is entered the program automatically gives the reflectance value. The average value (%) is given and can be adjusted according to needs.  Select OK to confirm input.

Standard Room Color and Reflectance Definition

### Open Project

Selection of this function opens the window shown in the figure in which you can select the name of a saved project: once you have inserted the name in File Name, select Open and the project will be opened.

Definition Code and Project References

### Save Project

This command allows you to save a project. After selecting the command the project name window appears on the screen. At this point you can also change the name of the project. This is useful when you are working on different solutions for the same project.

If the project data has not yet been defined the program asks you to input it (see the Project Info command).

Project Save

The project is saved in a single LPJ extension file: this file can than be inserted in any work folder, if necessary also on the network.

### Project Info

This command allows you to input further information related to the project. The window shown appears on the screen and you can enter the following data:

Project Information

- Project Name

- Project Notes

- Customer

- Project Code

- Date

The window contains two other boxes where you can input further notes and reminders. All this data is printed on the project cover page.

### Print

This command allows you to print the project data, illuminance tables and 2D and 3D views of the room under consideration.

Icons

|  | Project Printout |
| --- | --- |

The window shown in the figure appears after selecting this command. You can decide what to print (left hand side), select one or more values tables or isolux curves from the RESULTS function from the menu bar (top right hand side), select one or more of the rendered images (right center), to choose whether to print the parameters and results of the financial calculation or the background chosen from DXF files,  to choose the print language from those available, to open the printer configuration window, you also have the option of modifying project data previously entered (Project Info function). If no data has been entered, the appropriate window appears on the screen (Project Information Window) which should be completed before proceeding but you may also print leaving the information window free.

The Project Info window, which is opened by clicking the Project Info button, allows you to enter the following data:

Printout Selection

- Project Name

- Project Notes

- Customer Name

- Project Code

- Date

You may also modify or write new notes and reminders in the editing boxes on the right. These notes and reminders will be printed on the project cover page.

When all the data has been entered, click OK to print the selected items. If you click Cancel, the program returns to the Working Plane view.

Note: the printout of the 3D view on the cover page is done assuming the observer is at the center of the wall along the X axis at a height of 1.5 m above the horizontal reference plane.

Project Information

The viewpoint can be changed by selecting the 3D view (VIEWS/3D command) and setting the viewpoint.

### Customize

This feature allows you to alter the customization of the program:

The customization window allows you to modify the following strings:

- Company Name

- Address

- Telephone and Fax Number.

Select OK to confirm the modification or Cancel to quit the command without saving.

### Import

The Import function allows:

- the conversion of projects from a previous version of LUXART 5.0 from .LTS or .RUN to LPJ format

- import of the photometric file (FOTOM.FDB) from the previous program archive.

The operational sequence to follow is, in this order:

- activate the program with activation files

- import the previous photometric file (FDB Import function) – optional operation: it is however possible, after program startup, to import the new photometries with the MAINTENANCE/Update function of the Photometric Server

Procedure:

- select the FDB Import function

- select the FDB file to be imported and confirm.

- convert the projects in LTS or RUN format (Convert LTS > LPJ and Convert RUN > LPJ function) – optional operation but recommended in that it makes project back-up easier.

Procedure:

- select the Convert LTS > LPJ  or  Convert RUN > LPJ function

- select the LTS or RUN file (from the \DATA\Prjs folder) to be imported and confirm.  More than one project may be selected at a time.

### DXF Import

The DXF Import function allows you to import a two-dimensional (2D) DXF file and represent it as background to the drawing.

Choose DXF File

Selection of the function opens the window in which to choose the file to be imported: all the file management functions typical of Windows Explorer are available, such as tree view, create new folder or list details view.

After selecting a DXF file the program shows its contents in the 2 windows on the left, one shows the offset (this represents how far the source is moved with respect to the area under examination), that is the source of the Cartesian axes and the drawing area, the other shows the zoom of the active part of the drawing.

In the lower part of the import window, there are these 4 sections:

- Source Dimensions [DXF Units]:  these are the drawing dimensions in DXF units

- Offset  [DXF Units]:  in this section you can define the position of the axes’ source with respect to the drawing area; 4 different options are available:

- None:  the source position is the original DXF file position

- Bottom Left: the source is positioned in the bottom left of the drawing

- Centered: the source is positioned in the center of the drawing

- Free: in this case the source coordinates may be freely defined by the operator; on selection of this option the program activates the 3 X, Y and Z coordinates with which to define the offset of the new source with respect to the original DXF file position.

- Target Dimensions [m]:  these are the dimensions of the drawing in [m] according to the unit chosen in the drawing unit of measurement definition section (see Scale)

- Scale:  in this section the unit of measurement with which to handle the drawing is defined.  The available units are: millimeters [mm], centimeters [cm], meters [m], kilometers [km], feet [ft], inches [inch] and free, with which to define a scale of your own.

N.B.:  since the units of measurement cannot be handled in the DXF file, the unit must be chosen from the Scale section, observing the dimensions in the Final Dimensions section and making sure they are compatible with the drawing under examination.

To confirm import of the DXF file press Open.

Once the DXF file has been imported and visualized as background, the Area – Create Area function must be used to define the edges of the study area and also whether this is interior (in which case the walls will be created) or exterior.

Should the program be closed and the project file reopened, the DXF file will not be loaded automatically, it will be necessary to repeat the import operation of the previously opened DXF file.

The DXF background can be printed along with the various screen displays (value tables, graphs etc.) by selecting the relevant option from the Print window.